## Refurbishment
Refurbishment Specification
Property: | Hillcroft | [7 empty] | Property Front View
Address: | Hillcroft, Lightshaw Lane, Golborne, WARRINGTON, Cheshire, WA3 3UH, United Kingdom | [7 empty] | #VALUE!
Orbis/Keysafe: | Keysafe / Orbis Alarm / Padlock : tenanted
|  |  | Specification Standard |  | Notes Windows, doors and timber flagged on HHSRS report, as well as kitchen and utility units
Item | Type |  | Bronze
Internal Decoration | Walls |  | Dulux almond white |  | Please Check Notes as colour might differ
| Tiles |  | Metro Tiles |  | 8
| Woodwork |  | Dulux Satin or similar |  | Not Required
Flooring | Linoleum |  | Medium hard wearing vinyl, latex/plywood where required |  | No carpets in bathrooms as standard
| Carpets |  | Mid domestic type pile height no less than 7mm |  | Colour to be of a neutral tone eg straw, doe skin, fawn or beige. Doormat inset to any external accesses
| Underlay |  | Cloudnine
External Decoration | Walls |  | Like for like unless specified
| Woodwork |  | Like for like unless specified |  | Strip, repair and 2 coats
Replacement | Kitchen | Cooker to specify | 14mm carcus |  | All soft close, colour/design to specify, Howdens
| Bathroom |  | To Specify on inspection
Room | Type | Required Yes or No | Further Information |  |  | Cost | Capital/Revenue
Ground Floor | [5 empty] | Cost per item | Please Select |  | Photographs
Kitchen/Diner | Ceiling | No |  |  |  |  | Revenue
| Walls | No |  |  |  |  | Revenue
| Woodwork | No |  |  |  |  | Revenue
| Floors | No |  |  |  |  | Revenue
| Windows | No |  |  |  |  | Revenue
| Curtains/Rails | No |  |  |  |  | Revenue
| Skirting | No |  |  |  |  | Revenue
| Door | No |  |  |  |  | Revenue
| Fridge | No
| Units & Appliances | Yes | HHSRS - Allow for replacement kitchen appliances to bring the kitchen to a modern standard like-for-like, cooker and dish washer currently faulty. Allow for modernised oven, cooker and dishwasher. Fridge is consistently getting condensated and mouldy. Allow for replacement refridgerator. |  |  | 3000 | Revenue | Total
| Additional | No |  |  |  |  | Revenue | 3000
Sitting Room | Ceiling | Yes | Where damp remedials have been replastered, allow to prepare and redecorate like-for-like including upper skirting |  |  | 500 | Revenue
| Walls | No |  |  |  |  | Revenue
| Woodwork | No |  |  |  |  | Revenue
| Floors | No |  |  |  |  | Revenue
| Windows | No |  |  |  |  | Revenue
| Curtains/Rails | Yes | Allow for replacement blinds to french door, ensuring opening mechanisms are functioning |  |  | 465 | Revenue
| Skirting | No |  |  |  |  | Revenue
| Additional | No |  |  |  |  | Revenue
| Additional | No |  |  |  |  | Revenue
| Additional | No |  |  |  |  | Revenue
| Additional | No |  |  |  |  | Revenue
| Additional | No |  |  |  |  | Revenue | Total
| Additional | No |  |  |  |  | Revenue | 965
Inner Hall | Ceiling | No |  |  |  |  | Revenue
| Walls | Yes | Allow to replaster and redecorate where previous plastering has failed |  |  | 800 | Revenue
| Woodwork | No |  |  |  |  | Revenue
| Floors | No |  |  |  |  | Revenue
| Windows | No |  |  |  |  | Revenue
| Curtain Rails | No |  |  |  |  | Revenue
| Skirting | No |  |  |  |  | Revenue
| Door | No |  |  |  |  | Revenue
| Fireplace | No |  |  |  |  | Revenue
| Additional | No |  |  |  |  | Revenue | Total
| Additional | No |  |  |  |  | Revenue | 800
Utility 1 | Ceiling | No |  |  |  |  | Revenue
| Walls | No |  |  |  |  | Revenue
| Woodwork | No |  |  |  |  | Revenue
| Floors | No |  |  |  |  | Revenue
| Windows | No |  |  |  |  | Revenue
| Curtains/Rails | No |  |  |  |  | Revenue
| Skirting | No |  |  |  |  | Revenue
| Door | No |  |  |  |  | Revenue
| Units & Appliances | Yes | Since pipework was resealed, the piping has shifted, assess viability and allow for repairs if required. State repairs if necessary PSUM |  |  | 250 | Revenue
| Additional | No |  |  |  |  | Revenue | Total
| Additional | No |  |  |  |  | Revenue | 250
Annex Kitchen | Ceiling | No |  |  |  |  | Revenue
| Walls | No |  |  |  |  | Revenue
| Woodwork | No |  |  |  |  | Revenue
| Floors | No |  |  |  |  | Revenue
| Windows | No |  |  |  |  | Revenue
| Curtains/Rails | No |  |  |  |  | Revenue
| Skirting | No |  |  |  |  | Revenue
| Door | No |  |  |  |  | Revenue
| Appliances | Yes | Outbuilding HHSRS - Allow for installation of kitchen appliances to bring the kitchen to a modern standard List required appliances below |  |  | 2000 | Revenue
| Additional | No |  |  |  |  | Revenue
| Additional | No |  |  |  |  | Revenue
| Additional | No |  |  |  |  | Revenue
| Additional | No |  |  |  |  | Revenue
| Additional | No |  |  |  |  | Revenue
| Additional | No |  |  |  |  | Revenue
| Additional | No |  |  |  |  | Revenue | Total
| Additional | No |  |  |  |  | Revenue | 2000
Annex Bathroom | Ceiling | No |  |  |  |  | Revenue
| Walls | No |  |  |  |  | Revenue
| Woodwork | No |  |  |  |  | Revenue
| Floors | No |  |  |  |  | Revenue
| Windows | No |  |  |  |  | Revenue
| Door | No |  |  |  |  | Revenue
| Shower | Yes | Outbuilding - Install extractor fan to outbuilding shower |  |  | 375 | Revenue
| Additional | No |  |  |  |  | Revenue
| Additional | No |  |  |  |  | Revenue
| Additional | No |  |  |  |  | Revenue
| Additional | No |  |  |  |  | Revenue
| Additional | No |  |  |  |  | Revenue
| Additional | No |  |  |  |  | Revenue | Total
| Additional | No |  |  |  |  | Revenue | 375
Cloakroom | Ceiling | No |  |  |  |  | Revenue
| Walls | No |  |  |  |  | Revenue
| Woodwork | No |  |  |  |  | Revenue
| Floors | No |  |  |  |  | Revenue
| Windows | No |  |  |  |  | Revenue
| Curtain/Rails | No |  |  |  |  | Revenue
| Skirting | No |  |  |  |  | Revenue
| Door | No |  |  |  |  | Revenue
| Additional | No |  |  |  |  | Revenue
| Additional | No |  |  |  |  | Revenue
| Additional | No |  |  |  |  | Revenue | Total
| Additional | No |  |  |  |  | Revenue | 0
Bedroom 3 | Ceiling | No |  |  |  |  | Revenue
| Walls | No |  |  |  |  | Revenue
| Woodwork | No |  |  |  |  | Revenue
| Floors | No |  |  |  |  | Revenue
| Windows | No |  |  |  |  | Revenue
| Curtain/Rails | No |  |  |  |  | Revenue
| Skirting | No |  |  |  |  | Revenue
| Door | No |  |  |  |  | Revenue
| Additional | No |  |  |  |  | Revenue | Total
| Additional | No |  |  |  |  | Revenue | 0
Study | Ceiling | No | 4th bedroom |  |  |  | Revenue
| Walls | No |  |  |  |  | Revenue
| Woodwork | No |  |  |  |  | Revenue
| Floors | No |  |  |  |  | Revenue
| Windows | No |  |  |  |  | Revenue
| Curtains/Rails | No |  |  |  |  | Revenue
| Skirting | No |  |  |  |  | Revenue
| Door | No |  |  |  |  | Revenue
| Additional | No |  |  |  |  | Revenue | Total
| Additional | No |  |  |  |  | Revenue | 0
Additional | Ceiling | No |  |  |  |  | Revenue
| Walls | No |  |  |  |  | Revenue
| Woodwork | No |  |  |  |  | Revenue
| Floors | No |  |  |  |  | Revenue
| Windows | No |  |  |  |  | Revenue
| Curtain/Rails | No |  |  |  |  | Revenue
| Skirting | No |  |  |  |  | Revenue
| Door | No |  |  |  |  | Revenue
| Additional | No |  |  |  |  | Revenue | Total
| Additional | No |  |  |  |  | Revenue | 0
Dressing Room 1 | Ceiling | No |  |  |  |  | Revenue
| Walls | No |  |  |  |  | Revenue
| Woodwork | No |  |  |  |  | Revenue
| Floors | No |  |  |  |  | Revenue
| Windows | No |  |  |  |  | Revenue
| Curtain/Rails | No |  |  |  |  | Revenue
| Skirting | No |  |  |  |  | Revenue
| Door | No |  |  |  |  | Revenue
| Additional | No |  |  |  |  | Revenue | Total
| Additional | No |  |  |  |  | Revenue | 0
Dressing Room 2 | Ceiling | No |  |  |  |  | Revenue
| Walls | No |  |  |  |  | Revenue
| Woodwork | No |  |  |  |  | Revenue
| Floors | No |  |  |  |  | Revenue
| Windows | No |  |  |  |  | Revenue
| Curtains/Rails | No |  |  |  |  | Revenue
| Skirting | No |  |  |  |  | Revenue
| Door | No |  |  |  |  | Revenue
| Additional | No |  |  |  |  | Revenue | Total
| Additional | No |  |  |  |  | Revenue | 0
First Floor
Stairs and Landing | Ceiling | No |  |  |  |  | Revenue
| Walls | No |  |  |  |  | Revenue
| Woodwork | No |  |  |  |  | Revenue
| Floors | No |  |  |  |  | Revenue
| Windows | No |  |  |  |  | Revenue
| Curtains/Rails | No |  |  |  |  | Revenue
| Skirting | No |  |  |  |  | Revenue
| Door | No |  |  |  |  | Revenue
| Additional | No |  |  |  |  | Revenue | Total
| Additional | No |  |  |  |  | Revenue | 0
Bedroom 1 | Ceiling | No |  |  |  |  | Revenue
| Walls | Yes | Allow to prepare and redecorate stained area of wall like-for-like |  |  | 300 | Revenue
| Woodwork | No |  |  |  |  | Revenue
| Floors | No |  |  |  |  | Revenue
| Windows | No |  |  |  |  | Revenue
| Curtains/Rails | No |  |  |  |  | Revenue
| Skirting | No |  |  |  |  | Revenue
| Door | No |  |  |  |  | Revenue
| Toilet/Basin/Shower/Bath | No |  |  |  |  | Revenue | Total
| Additional | No |  |  |  |  | Revenue | 300
Bedroom 2 | Ceiling | No |  |  |  |  | Revenue
| Walls | No |  |  |  |  | Revenue
| Woodwork | No |  |  |  |  | Revenue
| Floors | No |  |  |  |  | Revenue
| Windows | No |  |  |  |  | Revenue
| Curtains/Rails | No |  |  |  |  | Revenue
| Skirting | No |  |  |  |  | Revenue
| Door | No |  |  |  |  | Revenue
| Toilet/Basin/Shower/Bath | No |  |  |  |  | Revenue | Total
| Additional | No |  |  |  |  | Revenue | 0
Bathroom 1 | Ceiling | No |  |  |  |  | Revenue
| Walls | No |  |  |  |  | Revenue
| Woodwork | No |  |  |  |  | Revenue
| Floors | No |  |  |  |  | Revenue
| Windows | Yes | Allow to replace 2 x velux windows with new uPvc units, allow for making good the window reveals upon installation |  |  | 2800 | Revenue
| Curtains/Rails | No |  |  |  |  | Revenue
| Skirting | No |  |  |  |  | Revenue
| Door | No |  |  |  |  | Revenue
| Toilet/Basin/Shower/Bath | No |  |  |  |  | Revenue | Total
| Additional | No |  |  |  |  | Revenue | 2800
Bedroom 1 | Ceiling | No |  |  |  |  | Revenue
| Walls | No |  |  |  |  | Revenue
| Woodwork | No |  |  |  |  | Revenue
| Floors | No |  |  |  |  | Revenue
| Windows | No |  |  |  |  | Revenue
| Curtains/Rails | No |  |  |  |  | Revenue
| Skirting | No |  |  |  |  | Revenue
| Door | No |  |  |  |  | Revenue
| Additional | No |  |  |  |  | Revenue | Total
| Additional | No |  |  |  |  | Revenue | 0
En suite 1 | Ceiling | No |  |  |  |  | Revenue
| Walls | No |  |  |  |  | Revenue
| Woodwork | No |  |  |  |  | Revenue
| Floors | No |  |  |  |  | Revenue
| Windows | No |  |  |  |  | Revenue
| Curtain/Rails | No |  |  |  |  | Revenue
| Skirting | No |  |  |  |  | Revenue
| Door | No |  |  |  |  | Revenue
| Toilet/Basin/Shower/Bath | Yes |  |  |  |  | Revenue | Total
| Additional | No |  |  |  |  | Revenue | 0
Bedroom 2 | Ceiling | No |  |  |  |  | Revenue
| Walls | No |  |  |  |  | Revenue
| Woodwork | No |  |  |  |  | Revenue
| Floors | No |  |  |  |  | Revenue
| Windows | No |  |  |  |  | Revenue
| Curtain/Rails | No |  |  |  |  | Revenue
| Skirting | No |  |  |  |  | Revenue
| Door | No |  |  |  |  | Revenue
| Toilet/Basin/Shower/Bath | No |  |  |  |  | Revenue
| Additional | No |  |  |  |  | Revenue | Total
| Additional | No |  |  |  |  | Revenue | 0
Bedroom 3 | Ceiling | No |  |  |  |  | Revenue
| Walls | No |  |  |  |  | Revenue
| Woodwork | No |  |  |  |  | Revenue
| Floors | No |  |  |  |  | Revenue
| Windows | No |  |  |  |  | Revenue
| Curtains/Rails | No |  |  |  |  | Revenue
| Skirting | No |  |  |  |  | Revenue
| Door | No |  |  |  |  | Revenue
| Additional | No |  |  |  |  | Revenue | Total
| Additional | No |  |  |  |  | Revenue | 0
Bedroom 4 | Ceiling | No |  |  |  |  | Revenue
| Walls | No |  |  |  |  | Revenue
| Woodwork | No |  |  |  |  | Revenue
| Floors | No |  |  |  |  | Revenue
| Windows | No |  |  |  |  | Revenue
| Curtain/Rails | No |  |  |  |  | Revenue
| Skirting | No |  |  |  |  | Revenue
| Door | No |  |  |  |  | Revenue
| Additional | No |  |  |  |  | Revenue | Total
| Additional | No |  |  |  |  | Revenue | 0
Bedroom 5 | Ceiling | No |  |  |  |  | Revenue
| Walls | No |  |  |  |  | Revenue
| Woodwork | No |  |  |  |  | Revenue
| Floors | No |  |  |  |  | Revenue
| Windows | No |  |  |  |  | Revenue
| Curtains/Rails | No |  |  |  |  | Revenue
| Skirting | No
| Door | No |  |  |  |  | Revenue
| Additional | No |  |  |  |  | Revenue | Total
| Additonal | No |  |  |  |  | Revenue | 0
En suite 2 | Ceiling | No |  |  |  |  | Revenue
| Walls | No |  |  |  |  | Revenue
| Woodwork | No |  |  |  |  | Revenue
| Floors | No |  |  |  |  | Revenue
| Windows | No |  |  |  |  | Revenue
| Curtains/Rails | No |  |  |  |  | Revenue
| Skirting | No |  |  |  |  | Revenue
| Door | No |  |  |  |  | Revenue
| Toilet/Basin/Shower/Bath | No |  |  |  |  | Revenue | Total
| Additional | No |  |  |  |  | Revenue | 0
Bedroom 6 | Ceiling | No |  |  |  |  | Revenue
| Walls | No |  |  |  |  | Revenue
| Woodwork | No |  |  |  |  | Revenue
| Floors | No |  |  |  |  | Revenue
| Windows | No |  |  |  |  | Revenue
| Curtains/Rails | No |  |  |  |  | Revenue
| Skirting | No |  |  |  |  | Revenue
| Door | No |  |  |  |  | Revenue
| Additional | No |  |  |  |  | Revenue | Total
| Additional | No |  |  |  |  | Revenue | 0
Bedroom 7 | Ceiling | No |  |  |  |  | Revenue
| Walls | No |  |  |  |  | Revenue
| Woodwork | No |  |  |  |  | Revenue
| Floors | No |  |  |  |  | Revenue
| Windows | No |  |  |  |  | Revenue
| Curtain/Rails | No |  |  |  |  | Revenue
| Skirting | No |  |  |  |  | Revenue
| Door | No |  |  |  |  | Revenue
| Additional | No |  |  |  |  | Revenue | Total
| Additional | No |  |  |  |  | Revenue | 0
Bedroom 8 | Ceiling | No |  |  |  |  | Revenue
| Walls | No |  |  |  |  | Revenue
| Woodwork | No |  |  |  |  | Revenue
| Floors | No |  |  |  |  | Revenue
| Windows | No |  |  |  |  | Revenue
| Curtain/Rails | No |  |  |  |  | Revenue
| Skirting | No |  |  |  |  | Revenue
| Door | No |  |  |  |  | Revenue
| Additional | No |  |  |  |  | Revenue | Total
| Additional | No |  |  |  |  | Revenue | 0
[5 empty] | Total Internal Works | 14935
Additional Internal (General Items)
Room | Item | Requirement | Notes |  |  | Cost | Capital/Revenue
General Items | Cleaning | Yes | Remove from site all builders waste, rubble and general waste, carry out builders clean prior to property handover. |  |  | 1200 | Revenue
| Loft Hatches | Yes | Secure all loft hatches throughout the property. Add combination lock to restrict access for loft (1969 code). |  |  | 200 | Revenue
| Windows | Yes | Install window restrictors throughout the first floor of the property. |  |  | 300 | Revenue
| Windows | No |  |  |  |  | Revenue
| Lighting | No |  |  |  |  | Revenue
|  | Yes |  |  |  |  | Revenue
| Curtains | No |  |  |  |  | Revenue
| Doors | No |  |  |  |  | Revenue
| Doors | No |  |  |  |  | Revenue
| Flooring | No |  |  |  |  | Revenue
| Radiators | Yes | Carry out checks on heating system and ensure all radiators have been balanced and tested for leaks. |  |  | 600 | Revenue
| Sockets | Yes | Replace all non-compliant plug sockets with compliant double socket units and make good afterwards. |  |  | 1500 | Revenue
| Asbestos Survey | Yes | Allow for asbestos R&D survey ahead of works. |  |  | 450 | Revenue | Total
| Lead Survey | Yes | Allow for lead survey ahead of works. |  |  | 195 | Revenue | 4445
External Repairs
General Fabric | Fencing | Yes | Allow to correct approx. 40 ln. m. collapsed and broken fencing, replace broken fence posts where required - PSUM |  |  | 1500 | Revenue
| Driveway | Yes | Allow for approx 3t. Gravel top up to the driveway, filling potholes |  |  | 791 | Revenue
| Patio | Yes | Allow to lift, re-bed uneven patio and replace damaged flags. Approx 30m2. |  |  | 1650 | Revenue
| Step | Yes | Allow to install step to north side french door |  |  | 500 | Revenue
| Airbricks | Yes | Lower the external ground/paving levels to achieve proper clearance below the airbricks and regrade the path so water falls away from the building. Install airbrick extensions if needed and make good all disturbed surfaces. |  |  | 2100 | Revenue
| Breeze block outbuilding | Yes | Allow to install truss restraint clips to the bearings to prevent issues between trusses and wall plates. |  |  | 620 | Revenue
| Stables | Yes | HHSRS Cat 2 -Strip back loose and failing timber roof verge and structural members and replace rotten roof verge boards, fascia and supporting timber. Reinstate structural integrity of affected wall framing and junctions (internal and external) Replace roof coverings like-for-like PSUM - Further investigation to confirm extent of works. |  |  | 3500 | Revenue
| POOL ROOM - TO BE RETURNED TO | No |  |  |  |  | Revenue
External Decoration
| Additional | No |  |  |  |  | Revenue
| Additional | No |  |  |  |  | Revenue
| Additional | No |  |  |  |  | Revenue
| Additional | No |  |  |  |  | Revenue
| Additional | No |  |  |  |  | Revenue
| Additional | No |  |  |  |  | Revenue
| Additional | No |  |  |  |  | Revenue | Total
| Additonal | No |  |  |  |  | Revenue | 10661
Roof Repairs | Outbuilding - Roof | Yes | HHSRS Cat 2 - Remove loose and damaged cement fillet at roof-to-wall junction on both annex outbuilding and breeze block storage outbuilding. Supply & install new cement fillet and/or flashing to seal watertight. |  |  | 1400 | Revenue
| Roof tiles | No |  |  |  |  | Revenue
| Soffits | Yes | HHSRS - Allow to replace mouldy soffit boards to main house. Approx 60ln.mr eplacements like-for-like uPvc |  |  | 5320 | Revenue
| Rain Water Goods | Yes | Allow to clear out and rod through all existing rainwater drains, good and gulleys around the property to ensure they are free-flowing upon completion include for cleaning out the hoppers. Install new end caps where missing or damaged. Replace any broken grilles to gulleys. Fasten any loose fixtures back to the brickwork and secure any loose goods. Allow to clean any staining or rust from existing rain water goods. Include a flow test to ensure underground drainage systems clear and operational. |  |  | 1750 | Revenue
| Scaffold access | Yes | Provisional sum |  |  | 5000 | Revenue | Total
| Mobile access | No |  |  |  |  | Revenue | 13470
EPC Improvement Works | Windows/ Doors | Yes | Remove existing windows and doors and replace with new UPVC units with multi-chamber profiles for thermal efficiency to meet EPC requirements. The window and frame unit is to achieve a minimum U-value of 1.4 W/m²K U-value in accordance with Part L Building Regulations. Approx. 1 single, 3 french doors (including first floor, allow to replace FF french door with new window unit. Approximately 7 x double, 1 x single, 3 x bay, 1 x oriel window. Make good the window reveals and clear from any previous mould following the removal of the existing units |  |  | 17990 | Revenue
| Draught Exclusion | No | Provide and install draught-proofing measures to all designated openings to reduce air infiltration and improve thermal performance. This is to be achieved using draught excluders and resealing windows and doors (externally and internally) with low modulus silicone sealant |  |  | 1500 | Revenue
| Loft Insulation | Yes | Install thermal insulation to loft area to improve energy efficiency to meet 0.16 w/m²K U-value as per the Building Regulations. Lay insulation in two layers – first between joists, second cross-laid over joists to a minimum 270mm overall depth. Ensure no gaps and maintain ventilation at eaves. |  |  | 1800 | Revenue
| Energy efficient lighting | No | Replace existing lighting systems with energy-efficient LED fixtures with a minimum efficacy of ≥ 100 lumens per watt |  |  | 651 | Revenue | Total
| External/ Internal/ Cavity Wall Insulation | No | Enhance thermal performance of external and/or internal walls to meet EPC standards and reduce heat loss. For cavity walls: Fully fill cavities with approved insulation material. For solid walls: Apply internal or external insulation systems with vapor control layers where necessary as proposed within this specification Ensure installation meets BS EN ISO 6946 (Building Components and Building Elements – Thermal Resistance and Thermal Transmittance) and EPC guidelines. |  |  | 9875 | Revenue | 31816
|  | No |  |  | Total External Works | 55947
|  | Contractor |  |  | Total Refurbishment Works | 70882
LEAD IN TIME (WEEKS) 4 |  |  | 6 | DURATION OF WORKS (WEEKS)

## List Look up (hidden)
Additional
Annex Bathroom
Annex Bedroom 1
Annex Kitchen
Annex Living
Bathroom 1
Bathroom 2
Bathroom 3
Bedroom 1
Bedroom 2
Bedroom 3
Bedroom 4
Bedroom 5
Bedroom 6
Bedroom 7
Bedroom 8
Boot Room
Cloakroom
Conservatory
Conservatory
Dining Room
Drawing Room
Dressing Room 1
Dressing Room 2
Ensuite 1
Ensuite 2
Entrance Hall
Garage
Inner Hall
Kitchen
Kitchen/Breakfast
Kitchen/Diner
Living Room
Porch
Sitting Room
Snug
Stairs & landing
Study
Utility 1
Utility 2

## General Specification
General Specification
Materials (External Works)
All materials shall be of approved manufacture and are to be delivered to the site in sealed containers with the makers name and description of the contents clearly marked thereon. If the contractor proposes to use a brand other than one of those listed he is to state the brands he wishes to use when submitting his estimates.
Paint for external use and domestic properties shall be an approved oil based paint. Undercoat and gloss with appropriate primer for wood iron as the case may be. In all other instances paint shall be ICI Dulux undercoat and gloss with pink primer. NOTE: NO Lead based paints to be used on Farm Buildings.
All Primers, undercoats and gloss paints will be supplied by the same manufacturer for use together.
Sadolin to external treated woodwork.
Bitumastic shall be Wailes-Dove heavy duty Black Bitumastic solution.
Putty for woodwork shall be best quality linseed oil putty to BS544:1069 type I
Secomastic 'sealastic' shall be used for making good joints in iron gutters.
PVC gutters to be checked, realigned if necessary
Any asbestos guttering will be identified in a removal and demolition asbestos survey carried out in accordance to the specification provided to the contractor and maintenance of these gutters will be determined by the course of action highlighted in that report.
General Workmanship (External Repairs)
Painting | All materials, particularly regarding thinning and drying between coats, are to be used strictly in accordance with the maker's instructions. No paint shall be applied to surfaces that are damp or wet, or in foggy, wet or frosty weather.
All surfaces now painted or treated are to be included unless specifically stated otherwise
The properties to be treated are set out in the schedule and include any outbuildings, gates and fences which comprise part of the holding unless specifically noted in the schedule as 'not to be painted'.
Ease and Adjust | The edges of doors and opening windows to be eased as necessary before painting so that after application of the paint they fit well and can be opened and shut without difficulty. Where practical and necessary, unpainted door furniture is to be removed prior to painting, re-fixing thereafter and left clean and free from paint
Touch up and Make Good | After any defects have been made good, all paintwork to be touched up to general specification
Inspect Gutters and Downpipes | The Contractor to ensure, before painting, that soil and vent pipes and rainwater goods are in sound condition and operating correctly. Adjust falls, rejoint and replace defective or missing sections as detailed in schedule or report to the Surveyors such defects not included.
Cracked or Broken Glass Putty | Any broken or cracked glass to be replaced. Any loose or cracked putties to be raked out and made good before painting Proceeds. Prime rebates prior to puttying.
Painting and Preparation of Surfaces | Woodwork - all cracked, flacking and blistered work to be burnt off, rubbed down, knotted, primed, stopped up and a coat of priming paint applied of the same brand as the subsequent coats. Where hardwood window sills have been burnt off, these are to be primed with aluminium paint.
All other sound surfaces to be washed off, rubbed down with wet abrasive paper and prepared inluding the necessary stopping up.
The paint to be applied to both woodwork and ironwork. Undercoats and gloss is to be of an approved manufacturer or as otherwise approved by the Surveyors. Knot, prime and stop new or bare woodwork and finish with one undercoat and two gloss coats. Existing paintwork that is sound shall be rubbed down and brought forward one undercoat and one gloss coat.
Generally - the Contractor is to pay particular attention to the painting of the following items:- The tops, bottoms and side of windows and doors opening outward. The bargeboards, rafters and purlin ends. Outward opening doors to be treated both sides. Where rainwater downpipes are not accessible to effectively paint behind they shall be removed for painting and then refixed.
Window and Door Openings | All pointing around windows, sills and door frames to be checked, raked out where necessary and made good prior to redecorations.
Roof Overhauls | Replace or re-set and slippted or cracked tiles or slates, rebedding ridge and hip pieces and making good mortar bedding at verges and at the eaves. Clean valleys, taking care not to injure leadwork, and ensure that all leadwork flashings and soakers are properly positioned effectively. Inspect chimney stacks and secure loose pots, making good mortar flaunchings. Advise of any defective pointing to stacks that has not been specified for repair.
Materials (Internal Works)
All materials shall be of approved manufacture and are to be delivered to the site in sealed containers with the makers name and description of the contents clearly marked thereon. If the contractor proposes to use a brand other than one of those listed he is to state the brands he wishes to use when submitting his estimates.
Paint for internal decoration is to be Dulux or of a similar quality. This applies to all internal masonary and woodwork paint.
All Primers, undercoats and gloss paints will be supplied by the same manufacturer for use together. Woodwork should be Dulux Satin or similar.
Floorcoverings - all carpets are to be replaced unless stated, these will be listed as either Gold/Silver which will be based on a twist or loop pile carpet not less than 28oz in weight and between 6mm and 12mm in terms of pile height with a hessian, jute or manmade fibre backing. Some areas of a property will require more durable carpets than others due to increased traffic. Underlay is to be of a good density on all specifications with Cloud 9 being the preferred brand although similar will be considered.
Linoleum - all linoleum floors are to be of a durable hard wearing medium range value unless stated. Carpeted floors to bathrooms are to be replaced with linoleum unless otherwise stated.
Tiles will be of white metro tile design unless specified
All failed double glazing units are to be replaced with like for like units.
Taps and other bathroom fittings found to be faulty are to be replaced like for like unless stated or unless advised otherwise.
Door furniture found to be faulty should be replaced like for like unless the fault is with the style of furniture.
All freestanding appliances are to be removed from the property and all faulty integrated appliances are to be replaced like for like unless stated or unless a repair can be done more economically
Cookers found to be faulty are to be replaced like for like unless specified
Curtain rails are to be installed on all Gold specification properties where not present, existing curtain rails should be checked for suitability and the design of the rail will depend on the style or type of property.
General Workmanship (Internal Repairs)
Painting | All masonary surfaces should be stripped of paper unless otherwise specified. All surfaces now painted are to be included unless stated. Surfaces are to be painted with 2 coats unless further coats are required.
The rooms that are to be decorated are set out in the schedule below.
All woodwork is to be stripped back and then 2 coats of Dulux Satin or similar are to be applied unless otherwise stated.
Flooring | Carpeted floors to bathrooms are to be replaced with linoleum unless otherwise stated.
All carpeted areas are to be replaced unless specified. Existing underlay is to be assessed prior to quoting based on the specification.

## Compliance
Hillcroft, Lightshaw Lane, Golborne, WARRINGTON, Cheshire, WA3 3UH, United Kingdom
COMPLIANCE/SERVICE
COMPLIANCE SERVICES | CONTRACTOR | COST (Excl VAT) | Category
EICR | Revised compliance certificate required upon completion | 600 | Compliance
PAT | Revised compliance certificate required upon completion | 360 | Compliance
Gas/Oil/Solid fuel servicing + Option 1 drain down | Revised compliance certificate required upon completion | 540 | Compliance
HHSRS Survey | Revised compliance certificate required upon completion | 360 | Compliance
Asbestos Survey incl. Management Plan | Revised compliance certificate required upon completion (subject to R&D survey findings) | 1440 | Compliance
Legionella Risk Assessment | Revised compliance certificate required upon completion | 300 | Compliance
Chimney Sweeping (IF APPLICABLE) |  | 180 | Compliance
Radon Test (IF APPLICABLE) |  | 360 | Compliance
Empty/service Septic Tank (IF APPLICABLE) |  |  | Compliance
| Total Compliance Servicing | 4140
Electrical Compliance Remedials (including Detectors)
ITEM |  | Cost | Category
Revenue
Revenue
Revenue
Revenue
Revenue
Revenue
Revenue
Revenue
Revenue
Revenue
Revenue
Revenue
Revenue
Revenue
Revenue
Revenue
Revenue
Revenue
Allow for compliance retest upon completion of works |  | 420 | Revenue
Add more rows as required
| TOTAL | 420
Clean certificates to be provided (as well as the main electrical cert) : FHN6 (B-F) is a certificate of design, installation and commissioning of a fire detection alarm system grade B,C,D,E or F in a domestic property. This certificate should detail the number of smoke detector, heat detectors and CO detector in the “extent of the fire detection and alarm system covered by this certificate” section. The Minor Works of installation works certificate (IMN4) clarifies that the installation of the detectors have been designed, constructed, inspected, tested and verified in accordance with current electrical regulations.
Gas/Oil/Solid Fuel Remedials* |  | Cost | Category
Revenue
Revenue
Revenue
Revenue
Revenue
Revenue
Revenue
Revenue
Revenue
Revenue
Allow for compliance retest upon completion of works |  | 330 | Revenue
| TOTAL | 330
Gas safety and service must be carried out to all gas appliances. We require the service to be documented on the gas safety certificate.
* Full/clean certification will be required for each service certificate, appliance and inspection report requested as part of the compliance checks. This must be provided upon completion of the works. For the avoidance of doubt this means that all certification/inspection reports will comply to all current regulations and Carter Jonas specific instructions and contain NO 'NOT TO CURRENT STANDARDS' unless by express agreement with Carter Jonas LLP.
Drainage |  | Cost | Category
Revenue
Revenue
Revenue
Revenue
Revenue
Allow for compliance retest upon completion of works |  | 900 | Revenue
Revenue
| TOTAL | 900
Other Remedials - Asbestos, Legionella etc
LEGIONELLA |  | Cost | Category
Revenue
Revenue
Revenue
Allow for compliance retest upon completion of works |  | 300 | Revenue
ASBESTOS |  | Cost | Category
Revenue
Revenue
Revenue
Allow for compliance retest upon completion of works |  | 300 | Revenue
HHSRS |  | Cost | Category
Revenue
Revenue
Revenue
Revenue
Revenue
Revenue
Allow for compliance retest upon completion of works |  | 600 | Revenue
| TOTALS | 1200
REMEDIAL WORK | CONTRACTOR | COST
Electrical Remedials incl. detectors |  | 420
Gas/Oil/Solid fuel remedials |  | 330
Drainage |  | 900
Other Remedials (add detail) |  | 1200
| Total Compliance Remedials | 2850
| Total Compliance | 2850
Capital Total | Revenue Total
0 | 2850

## New Cost Breakdown
Hillcroft, Lightshaw Lane, Golborne, WARRINGTON, Cheshire, WA3 3UH, United Kingdom
Cost Break Down
Category | Cost
Decoration | 1600
Floor coverings | 0
Windows | 2800
Kitchen Units & Appliances | 250
Bathroom and shower suites | 0
Internal Repairs (Including Additional Section) | 10285
External Repairs | 42477
Roof Repairs | 13470
Asbestos abatement | 300
Repairs to services and systems (i.e. partial re-wire) | 2550
New private drainage systems (i.e. new packaged treatment plants, septic tanks and soakaways) | 0
New mechanical and electrical assets (i.e. boilers, central heating systems, full re-wire etc) | 0
Total | 73732
Capital | Revenue
0 | 73732
Capital expenditure shall include the full replacement or new installation of a fixed asset which shall either lengthen the life of the property, increase the usefulness or increase the value. | Revenue expenditure shall include the repair, maintenance and general upkeep of the property including fixed installations, services and the fabric of the building.
Total Compliance Service Costs | 4140
Total Compliance | 2850
Total Internal Works | 14935
Total External Works | 55947
Sub Total | 73732
Total Contingency (10% of works) | 7373.2
Sub Total | 81105.2
VAT | 16221.04
Project Total Cost | 81105.2
Project Total Cost (inc VAT) | 97326.24
LEAD IN TIME (weeks) | 0
DURATION OF WORKS (weeks) | 0

## Sheet1
| Revenue expenditure shall include the repair, maintenance and general upkeep of the property including fixed installations, services and the fabric of the building. | COST | Capital expenditure shall include the full replacement or new installation of a fixed asset which shall either lengthen the life of the property, increase the usefulness or increase the value. | COST
Compliance
Capital | · Decoration |  | · New mechanical and electrical assets (i.e. boilers, central heating systems, full re-wire etc) | As per compliance if non repair
Revenue | · Floor coverings |  | · New kitchens
| · Asbestos abatement |  | · New bathroom and shower suites
| · Damp remediation |  | · Full re-roof | As per spec
| · Internal Repairs |  | · New private drainage systems (i.e. new packaged treatment plants, septic tanks and soakaways) | As per spec
| · Repairs to services and systems (i.e. partial re-wire) |  | · New windows
| · External Repairs |  | · Additional | 0
| · Roof repairs |  | · Additional | 0
| · Additional (non-repair) |  |  | 0
| Total |  | Total | 0
Total Compliance Service Costs
Total Compliance
Total General Items
Total Internal Works
Total External Works
Sub Total
Total Contingency (10% of works)
Sub Total
VAT
Project Total Cost
Project Total Cost (inc VAT)